## 101-PC
sort | Parameter | Specification | Results
a | Appearance | Cherry red, Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 101-CC
sort | Organisms | Growth & Colony Morphology | Results
a | Streptococcus pneumoniae (ATCC 49619) | Luxuriant, α-hemolysis | Acceptable
b | Streptococcus pyogenes (ATCC 49399) | Luxuriant, β-hemolysis | Acceptable
c | Staphylococcus aureus (ATCC 29213) | Luxuriant, β-hemolysis | Acceptable
d | Staphylococcus aureus (Fresh Patient Isolate) | Luxuriant, β-hemolysis | Acceptable
e | Streptococcus spp. (Viridans Group) (In-house QC Strain) | Luxuriant, α-hemolysis | Acceptable

## 102-PC
sort | Parameter | Specification | Results
a | Appearance | Chocolate Coloured Opaque Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 102-CC
sort | Organisms | Colony Morphology | Results
a | Haemophilus influenzae (ATCC 49766) | Luxuriant, Translucent colonies | Acceptable

## 103-PC
sort | Parameter | Specification | Results
a | Appearance | Red, Clear to Slightly Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 103-CC
sort | Organisms | Colony Morphology | Results
a | Escherichia coli (ATCC 25922) | Pink coloured colonies, Lactose Fermenter | Acceptable
b | Enterococcus faecalis (ATCC 29212) | Magenta-Pink pinpoint colonies | Acceptable
c | Klebsiella pneumoniae (In House QC Strain) | Pink coloured mucoid colonies, Lactose Fermenter | Acceptable
d | Pseudomonas aeruginosa (ATCC 27853) | Colourless colonies, Non-Lactose Fermenter | Acceptable

## 104-PC
sort | Parameter | Specification | Results
a | Appearance | Straw Yellow Colour, Clear to Slightly Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 104-CC
sort | Antibiotic Escherichia coli ATCC 25922 | CLSI QC Range | CLSI Range | Results
a | Co-Trimoxazole (1.25 / 23.75 µg) | 23 - 29 mm |  | Acceptable
b | Tetracycline (30 µg) | 18 - 25 mm |  | Acceptable
c | Antibiotic Staphylococcus aureus ATCC 25923 | CLSI QC Range | CLSI Range | Results
d | Co-Trimoxazole (1.25 / 23.75 µg) | 24 - 32 mm |  | Acceptable
e | Tetracycline (30 µg) | 24 - 30 mm |  | Acceptable

## 106-PC
sort | Parameter | Specification | Results
a | Appearance | Red, Clear to Slightly Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 106-CC
sort | Organisms | Colony Morphology | Results
a | Escherichia coli (ATCC 25922) | Inhibited | Acceptable
b | Staphylococcus aureus(ATCC 29213) | Good-Luxuriant, Yellow colonies | Acceptable

## 107-PC
sort | Parameter | Specification | Results
a | Appearance | Clear to Slightly Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 107-CC
sort | Organisms | Colony Morphology | Results
a | Escherichia coli (ATCC 25922) | Purple colonies | Acceptable
b | Enterococcus faecalis(ATCC 29212) | Green Pinpoint Colonies | Acceptable
c | Klebsiella pneumoniae (In House QC Strain) | Blue-Green Mucoid Colonies | Acceptable
d | Pseudomonas aeruginosa (ATCC 27853) | Colourless with Greenish Pigment | Acceptable

## 112-PC
sort | Parameter | Specification | Results
a | Appearance | Cherry red, Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 112-CC
sort | Antibiotic Streptococcus pneumoniae ATCC 49619 | CLSI QC Range | CLSI Range | Results
a | Chloramphenicol (30 µg) | 23 - 27 mm |  | Acceptable
b | Tetracycline (30 µg) | 27 - 31 mm |  | Acceptable

## 113-PC
sort | Parameter | Specification | Results
a | Appearance | Light Amber Colour Clear - Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 113-CC
sort | Organisms | Culture Conditions | Growth | Results
a | Candida krusei (ATCC 6258) | 25⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
b | Aspergillus fumigatus (In House QC) | 25⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
c | Organisms | Culture Conditions | Growth | Results
d | Candida krusei (ATCC 6258) | 37⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
e | Aspergillus fumigatus (In House QC) | 37⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable

## 116-PC
sort | Parameter | Specification | Results
a | Appearance | Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 116-CC
sort | Organisms | Growth | Results
a | Escherichia coli (ATCC 25922) | Luxuriant | Acceptable
b | Pseudomonas aeruginosa (ATCC 27853) | Luxuriant | Acceptable
c | Staphylococcus aureus (ATCC 29213) | Luxuriant | Acceptable

## 117-PC
sort | Parameter | Specification | Results
a | Appearance | Greenish Yellow coloured Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm ± 1 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 117-CC
sort | Organisms | Colony Morphology | Results
a | Salmonella typhi (In House QC Strain) | Luxuriant, Black Colour Colonies | Acceptable

## 119-PC
sort | Parameter | Specification | Results
a | Appearance | Light Pink coloured, Clear - Slightly Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm ± 1 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 119-CC
sort | Organisms | Colony Morphology | Results
a | Salmonella typhi (In House QC Strain) | Luxuriant, Colourless colonies with Black Centre | Acceptable
b | Shigella flexneri (ATCC 9199) | Colourless colonies | Acceptable

## 120-PC
sort | Parameter | Specification | Results
a | Appearance | Bluish-Green coloured, Clear - Slightly Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm ± 1 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 120-CC
sort | Organisms | Colony Morphology | Results
a | Vibrio cholerae (ATCC 15748) | Luxuriant, Yellow colour colonies | Acceptable
b | Vibrio fluvialis (In House QC Strain) | Luxuriant, Yellow colour colonies | Acceptable
c | Escherichia coli (ATCC 25922) | Inhibited | Acceptable
d | Shigella flexneri (ATCC 9199) | Inhibited | Acceptable

## 121-PC
sort | Parameter | Specification | Results
a | Appearance | Light Amber Colour, Clear - Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 121-CC
sort | Organisms | Culture Conditions | Growth | Results
a | Candida krusei (ATCC 6258) | 25⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
b | Aspergillus fumigatus (In House QC) | 25⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
c | Organisms | Culture Conditions | Growth | Results
d | Candida krusei (ATCC 6258) | 37⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
e | Aspergillus fumigatus (In House QC) | 37⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable

## 122-PC
sort | Parameter | Specification | Results
a | Appearance | Green Colored, Clear to Slightly Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 122-CC
sort | Organisms | Colony Morphology | Results
a | Escherichia coli (ATCC 25922) | Yellow opaque colonies, center slightly deeper yellow | Acceptable
b | Enterococcus faecalis (ATCC 29212) | Slight Yellowish or greenish colonies | Acceptable
c | Klebsiella pneumoniae (In House QC Strain) | Yellow to whitish blue Colonies | Acceptable
d | Proteus mirabilis (In House QC Strain) | Blue Colonies | Acceptable
e | Staphylococcus aureus (ATCC 25923) | Deep Yellow Colonies | Acceptable
f | Salmonella typii (ATCC 6539) | Bluish colonies | Acceptable

## 123-PC
sort | Parameter | Specification | Results
a | Appearance | Opalescent Gel | Acceptable
b | Agar Thickness | 4 mm | Acceptable
c | Clumps in Media | Nil | Acceptable

## 123-CC
sort | Organisms | Growth | Results
a | Escherichia coli (ATCC 25922) | Luxuriant | Acceptable
b | Pseudomonas aeruginosa (ATCC 27853) | Luxuriant | Acceptable
c | Staphylococcus aureus (ATCC 29213) | Luxuriant | Acceptable

## 304-PC
sort | Parameter | Specification | Results
a | Appearance | Pale Yellow Clear Liquid | Acceptable
b | Fill Volume | 1.5 mL | Acceptable

## 304-CC
sort | Tube No | Organisms | Interpretation with Kovac’s reagent | Results
a | 1 | Pseudomonas aeruginosa (ATCC 25923) | Negative - Yellow Ring | Acceptable
b | 2 | Escherichia coli (ATCC 25922) | Positive- Pink Ring | Acceptable
c | 3 | Sterility Control | Turbid / Clear | Acceptable

## 305-PC
sort | Parameter | Specification | Results
a | Appearance | Light straw colour, Clear - Opalescent solution with upper 10% or less medium pink on standing | Acceptable
b | Fill Volume | 8 mL | Acceptable

## 305-CC
sort | Tube No | Organisms | Growth | Results
a | 1 | Escherichia coli (ATCC 25922) | Luxuriant | Acceptable
b | 2 | Pseudomonas aeruginosa (ATCC 27853) | Luxuriant | Acceptable
c | 3 | Staphylococcus aureus (ATCC 29213) | Luxuriant | Acceptable
d | 4 | Sterility Control | Turbid / Clear | Acceptable

## 306-PC
sort | Parameter | Specification | Results
a | Appearance | Medium Amber Coloured, Clear - Opalescent supernatant over insoluble granules | Acceptable
b | Fill Volume | 5 mL | Acceptable

## 306-CC
sort | Tube No | Organisms | Colony Morphology | Results
a | 1 | Clostridium perfringens (ATCC 12924) | Luxuriant | Acceptable
b | 2 | Streptococcus pneumonia (ATCC 49619) | Luxuriant | Acceptable
c | 3 | Enterococcus faecalis (ATCC 29212) | Luxuriant | Acceptable
d | 4 | Sterility Control | Turbid / Clear | Acceptable

## 307-PC
sort | Parameter | Specification | Results
a | Appearance Single Strength 307 (A) | Purple Coloured, Clear Liquid without any precipitate | Acceptable
b | Fill VolumeSingle Strength 307 (A) | 5 mL | Acceptable
c | Parameters | Specifications | Results
d | Appearance Double Strength 307 (B) | Purple Coloured, Clear Liquid without any precipitate | Acceptable
e | Fill VolumeDouble Strength 307 (B) | 10mL | Acceptable

## 307-CC
sort | Macconkey Broth | Organisms | Growth | Acid | Gas | Results
a | Single Strength 307 (A) | Escherichia coli (ATCC 25922) | Luxuriant | + | + | Acceptable
b | Single Strength 307 (A) | Staphylococcus aureus (ATCC 29213) | Inhibited | - | - | Acceptable
c | Single Strength 307 (A) | Sterility Control | Turbid / Clear | - | - | Acceptable
d | Macconkey Broth | Organisms | Growth | Acid | Gas | Results
e | Double Strength 307 (B) | Escherichia coli (ATCC 25922) | Luxuriant | + | + | Acceptable
f | Double Strength 307 (B) | Staphylococcus aureus (ATCC 29213) | Inhibited | - | - | Acceptable
g | Double Strength 307 (B) | Sterility Control | Turbid / Clear | - | - | Acceptable

## 310-PC
sort | Parameter | Specification | Results
a | Appearance | Light yellow coloured, Clear solution without any precipitate | Acceptable
b | Fill Volume | 2.5 mL | Acceptable

## 310-CC
sort | Tube No | Organisms | Growth | Colour of Colony* | Results
a | 1 | Escherichia coli (ATCC 25922) | No increase in numbers | White to Pink with bile precipitate | Acceptable
b | 2 | Salmonella typii (In-House QC Strain) | Good-Luxuriant | Colourless | Acceptable
c | 3 | Sterility Control | Turbid / Clear | - | Acceptable

## 401-PC
sort | Parameter | Specification | Results
a | Appearance | Clear Liquid | Acceptable
b | Fill Volume | 0.5 mL | Acceptable
c | Sterility @ 37⁰C ± 2⁰C for 12-18 h | Turbid / Clear | Acceptable

## 401-CC
sort | Samples | Interpretation | Results
a | Fresh Urine Sample with No Bacteria | No Growth | Acceptable
b | Fresh Urine Sample with Bacteria | Growth : Colony Count: Identification: | Acceptable

## 404-PC
sort | Parameter | Specification | Results
a | Appearance | Light Amber Colour Clear - Opalescent Gel Slant | Acceptable
b | Fill Volume | 15 mL | Acceptable
c | Clumps in Media | Nil | Acceptable

## 404-CC
sort | Tube No | Organisms | Culture Conditions | Growth | Results
a | 1 | Candida krusei (ATCC 6258) | 25⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
b | 2 | Candida krusei (ATCC 6258) | 37⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
c | 3 | Aspergillus fumigatus (In House QC) | 25⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
d | 4 | Aspergillus fumigatus (In House QC) | 37⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
e | 5 | Klebsiella pneumoniae (In House QC Strain) | 37⁰C ± 2⁰C for 24 h | Inhibited | Acceptable
f | 6 | Pseudomonas aeruginosa (ATCC 27853) | 37⁰C ± 2⁰C for 24 h | Inhibited | Acceptable
g | 7 | Sterility Control | 37⁰C ± 2⁰C for 24 h | No Growth | Acceptable

## 407-PC
sort | Parameter | Specification | Results
a | Appearance | Light Amber Colour, Clear - Opalescent slant | Acceptable
b | Fill Volume | 15 mL | Acceptable
c | Clumps in Media | Nil | Acceptable

## 407-CC
sort | Tube No | Organisms | Culture Conditions | Growth | Results
a | 1 | Candida krusei (ATCC 6258) | 25⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
b | 2 | Candida krusei (ATCC 6258) | 37⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
c | 3 | Aspergillus fumigatus (In House QC) | 25⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
d | 4 | Aspergillus fumigatus (In House QC) | 37⁰C ± 2⁰C for 24 h | Luxuriant | Acceptable
e | 5 | Klebsiella pneumoniae | 37⁰C ± 2⁰C for 24 h | Inhibited | Acceptable
f | 6 | Pseudomonas aeruginosa (ATCC 27853) | 37⁰C ± 2⁰C for 24 h | Inhibited | Acceptable
g | 7 | Sterility Control | 37⁰C ± 2⁰C for 24 h | No Growth | Acceptable

## 501-PC
sort | Parameter | Specification | Results
a | Appearance | Medium amber coloured, clear to slightly opalescent gel slant | Acceptable
b | Fill Volume | 1 mL | Acceptable
c | Colour Change | Yes (Not Acceptable) / No (Acceptable) | Acceptable

## 501-CC
sort | Tube No | Organisms | Growth | Urease | Results
a | 1 | Escherichia coli (ATCC 25922) | Luxuriant | - | Acceptable
b | 2 | Proteus mirabilis (In-House QC Control) | Luxuriant | + | Acceptable

## 503-PC
sort | Parameter | Specification | Results
a | Appearance | Pinkish Red Coloured clear to opalescent gel slant | Acceptable
b | Fill Volume | 3 mL | Acceptable
c | Colour Change | No | Acceptable

## 503-CC
sort | Tube No | Organisms | Growth | Slant | Butt | Gas | H2S | Results
a | 1 | Escherichia coli (ATCC 25922) | Luxuriant | Acid | Acid | + | - | Acceptable
b | 2 | Proteus mirabilis (In-House QC Control) | Luxuriant | Alkaline | Acid | - | + | Acceptable
c | 3 | Salmonella typhi (In-House QC Control) | Luxuriant | Alkaline | Acid | - | + | Acceptable

## 505-PC
sort | Parameter | Specification | Results
a | Appearance | Green coloured slightly opalescent slant | Acceptable
b | Fill Volume | 1 mL | Acceptable
c | Colour Change | No | Acceptable

## 505-CC
sort | Tube No | Organisms | Growth | Colour of Medium | Citrate Utilization | Results
a | 1 | Escherichia coli (ATCC 25922) | Inhibited | Green | - | Acceptable
b | 2 | Pseudomonas aeruginosa (ATCC 27853) | Luxuriant | Blue | + | Acceptable

## 506-PC
sort | Parameter | Specification | Results
a | Appearance | Red coloured Opalescent gel | Acceptable
b | Fill Volume | 2 mL | Acceptable
c | Colour Change | No | Acceptable

## 506-CC
sort | Tube No | Organisms | Interpretation | Results
a | 1 | Escherichia coli (ATCC 25922) | Yellow colour, Motile | Acceptable
b | 2 | Klebsiella pneumonia (In house QC strain) | Yellow colour, Non-Motile | Acceptable
c | 3 | Pseudomonas aeruginosa (ATCC 25923) | Red colour, Motile | Acceptable

## 507-PC
sort | Parameter | Specification | Results
a | Appearance | Purple coloured, clear to slightly opalescent gel as slant | Acceptable
b | Fill Volume | 3 mL | Acceptable
c | Colour Change | No | Acceptable

## 507-CC
sort | Tube No | Organisms | Growth | Slant | Butt | H2S | Results
a | 1 | Escherichia coli (ATCC 25922) | Luxuriant | K | K | - | Acceptable
b | 2 | Proteus mirabilis (In-House QC Control) | Luxuriant | R | A | + | Acceptable
c | 3 | Salmonella typhi (In-House QC Control) | Luxuriant | K | K | + | Acceptable

## 508-PC
sort | Parameter | Specification | Results
a | Appearance | Medium amber coloured, clear to slightly opalescent gel slant | Acceptable
b | Fill Volume | 1 mL | Acceptable
c | Sterility @ 37⁰C ± 2⁰C for 24 h | No Growth | Acceptable
d | Colour Change | No | Acceptable

## 508-CC
sort | Tube No | Organisms | Growth | Urease | Results
a | 1 | Escherichia coli (ATCC 25922) | Luxuriant | - | Acceptable
b | 2 | Proteus mirabilis (In-House QC Control) | Luxuriant | + | Acceptable